## F-no-007
Civil Site Visit
SOIL COMPACTION TEST REPORT
DLBD Of sand :- Kg / Cum
Wt. of sand in cone :- Kgs
MDD of soil determined at laboratory : kg / cum (OMC = %)
Lacation :
Cone calibration status : Yes / No
Layer:
Date :
Sr. No | Description | S - 1 | S - 2 | S - 3
1 | Wt. of sand in pouring cylinder before pouring (kgs)
2 | Wt. of sand in pouring cylinder after pouring (kgs)
3 | Wt. 0f sand in poured into the hole + cone (kgs)=(C1-C2)
4 | Wt. 0f sand in poured into the hole (kgs)=(C3-0.366)
5 | Wt.of soil extracted from the hole (kgs)
6 | Vol. of sand poured into the hole ( cum )= ( C4/1.386)
7 | Wet density of soil in Kg / cum = (C5/C6)
8 | Moisture of soil in %
9 | Dry density of soil in Kg / Cum = (C7X100)/(100+C8)
10 | Degree of compaction in % with ref.to MDD =C9X100/2040
11 | Remark
Signature:-
Name:-
Date:-

## 1
SOIL COMPACTION TEST REPORT
DLBD Of sand :- Kg / Cum
Wt. of sand in cone :- Kgs
MDD of soil determined at laboratory : kg / cum (OMC = %)
Lacation :
Cone calibration status : Yes / No
Layer:
Date :
Sr. No | Description | S - 1 | S - 2 | S - 3
1 | Wt. of sand in pouring cylinder before pouring (kgs) | 7.31 | 7.212 | 7.387
2 | Wt. of sand in pouring cylinder after pouring (kgs) | 5.288 | 5.356 | 5.461
3 | Wt. 0f sand in poured into the hole + cone (kgs)=(C1-C2) | 2.022 | 1.856 | 1.926
4 | Wt. 0f sand in poured into the hole (kgs)=(C3-0.366) | 1.656 | 1.49 | 1.56
5 | Wt.of soil extracted from the hole (kgs) | 2.348 | 2.278 | 2.31
6 | Vol. of sand poured into the hole ( cum )= ( C4/1386) | 1.1948 | 1.075 | 1.1255
7 | Wet density of soil in Kg / cum = (C5/C6) | 1.9652 | 2.119 | 2.0523
8 | Moisture of soil in % | 6 | 7 | 7
9 | Dry density of soil in Kg / Cum = (C7X100)/(100+C8) | 1.8539 | 1.9804 | 1.9181
10 | Degree of compaction in % with ref.to MDD =C9X100/2040 | 90.8793 | 97.0771 | 94.0236
11 | Remark
Signature:-
Name:-
Date:-

## 2
SOIL COMPACTION TEST REPORT
DLBD Of sand :- Kg / Cum
Wt. of sand in cone :- Kgs
MDD of soil determined at laboratory : kg / cum (OMC = %)
Lacation :
Cone calibration status : Yes / No
Layer:
Date :
Sr. No | Description | S - 1 | S - 2 | S - 3
1 | Wt. of sand in pouring cylinder before pouring (kgs)
2 | Wt. of sand in pouring cylinder after pouring (kgs)
3 | Wt. 0f sand in poured into the hole + cone (kgs)=(C1-C2)
4 | Wt. 0f sand in poured into the hole (kgs)=(C3-0.366)
5 | Wt.of soil extracted from the hole (kgs)
6 | Vol. of sand poured into the hole ( cum )= ( C4/1386)
7 | Wet density of soil in Kg / cum = (C5/C6)
8 | Moisture of soil in %
9 | Dry density of soil in Kg / Cum = (C7X100)/(100+C8)
10 | Degree of compaction in % with ref.to MDD =C9X100/2040
11 | Remark
Signature:-
Name:-
Date:-

## 3
SOIL COMPACTION TEST REPORT
DLBD Of sand :- Kg / Cum
Wt. of sand in cone :- Kgs
MDD of soil determined at laboratory : kg / cum (OMC = %)
Lacation :
Cone calibration status : Yes / No
Layer:
Date :
Sr. No | Description | S - 1 | S - 2 | S - 3
1 | Wt. of sand in pouring cylinder before pouring (kgs) | 7.38 | 7.41 | 7.404 | 7.397 | 7.421 | 7.431 | 7.412 | 7.2 | 7.3
2 | Wt. of sand in pouring cylinder after pouring (kgs) | 5.326 | 5.289 | 5.348 | 5.344 | 5.512 | 5.465 | 5.398 | 5.42 | 5.32
3 | Wt. 0f sand in poured into the hole + cone (kgs)=(C1-C2) | 2.054 | 2.121 | 2.056 | 2.053 | 1.909 | 1.966 | 2.014 | 1.78 | 1.98
4 | Wt. 0f sand in poured into the hole (kgs)=(C3-0.366) | 1.688 | 1.755 | 1.69 | 1.687 | 1.543 | 1.6 | 1.648 | 1.414 | 1.614
5 | Wt.of soil extracted from the hole (kgs) | 2.318 | 2.218 | 2.219 | 2.341 | 2.106 | 2.045 | 2.21 | 2.021 | 2.21
6 | Vol. of sand poured into the hole ( cum )= ( C4/1386) | 1.2179 | 1.2662 | 1.2193 | 1.2172 | 1.1133 | 1.1544 | 1.189 | 1.0202 | 1.1645
7 | Wet density of soil in Kg / cum = (C5/C6) | 1.9033 | 1.7517 | 1.8198 | 1.9233 | 1.8917 | 1.7715 | 1.8587 | 1.981 | 1.8978
8 | Moisture of soil in % | 8 | 7 | 8 | 8.5 | 7 | 8 | 8 | 8 | 7
9 | Dry density of soil in Kg / Cum = (C7X100)/(100+C8) | 1.7623 | 1.6371 | 1.685 | 1.7726 | 1.768 | 1.6403 | 1.721 | 1.8342 | 1.7737
10 | Degree of compaction in % with ref.to MDD =C9X100/2040 | 86.3874 | 80.2479 | 82.6 | 86.894 | 86.6646 | 80.4049 | 84.3615 | 89.9138 | 86.9437
11 | Remark
Signature:-
Name:-
Date:-

## Sheet1
1 | Wt. of sand in pouring cylinder before pouring (kgs) | 7.48 | 7.414 | 7.406 | 7.41 | 7.416 | 7.416 | 7.421 | 7.419 | 7.488
2 | Wt. of sand in pouring cylinder after pouring (kgs) | 5.475 | 5.416 | 5.398 | 5.41 | 5.398 | 5.399 | 5.42 | 5.548 | 5.498
3 | Wt. 0f sand in poured into the hole + cone (kgs)=(C1-C2) | 2.005 | 1.998 | 2.008 | 2 | 2.018 | 2.017 | 2.001 | 1.871 | 1.99
4 | Wt. 0f sand in poured into the hole (kgs)=(C3-0.366) | 1.639 | 1.632 | 1.642 | 1.634 | 1.652 | 1.651 | 1.635 | 1.505 | 1.624
5 | Wt.of soil extracted from the hole (kgs) | 2.35 | 2.415 | 2.354 | 2.45 | 2.365 | 2.354 | 2.398 | 2.298 | 2.345
6 | Vol. of sand poured into the hole ( cum )= ( C4/1386) | 1.1825 | 1.1775 | 1.1847 | 1.1789 | 1.1919 | 1.1912 | 1.1797 | 1.0859 | 1.1717
7 | Wet density of soil in Kg / cum = (C5/C6) | 1.9872 | 2.051 | 1.987 | 2.0782 | 1.9842 | 1.9762 | 2.0328 | 2.1163 | 2.0013
8 | Moisture of soil in % | 8 | 7 | 7 | 8.5 | 7 | 7.5 | 8 | 8 | 7.5
9 | Dry density of soil in Kg / Cum = (C7X100)/(100+C8) | 1.84 | 1.9168 | 1.857 | 1.9153 | 1.8544 | 1.8383 | 1.8822 | 1.9595 | 1.8617
10 | Degree of compaction in % with ref.to MDD =C9X100/2040 | 90.1983 | 93.9607 | 91.0296 | 93.8896 | 90.9014 | 90.1123 | 92.2658 | 96.0556 | 91.2602
11 | Remark
|  | 7.475 | 7.412 | 7.465 | 7.454 | 7.415 | 7.414 | 7.411 |  | 7.445
|  | 5.479 | 5.415 | 5.426 | 5.408 | 5.397 | 5.397 | 5.416 | 5.548 | 5.41
|  | 1.996 | 1.997 | 2.039 | 2.046 | 2.018 | 2.017 | 1.995 | #VALUE! | 2.035
|  | 1.63 | 1.631 | 1.673 | 1.68 | 1.652 | 1.651 | 1.629 | #VALUE! | 1.669
|  | 2.355 | 2.368 | 2.389 | 2.416 | 2.365 | 2.357 | 2.388 | 2.298 | 2.389
|  | 1.176 | 1.1768 | 1.2071 | 1.2121 | 1.1919 | 1.1912 | 1.1753 | #VALUE! | 1.2042
|  | 2.0025 | 2.0123 | 1.9792 | 1.9932 | 1.9842 | 1.9787 | 2.0318 | #VALUE! | 1.9839
|  | 8 | 7 | 7 | 8 | 7 | 7.5 | 8 | 8 | 7.5
|  | 1.8541 | 1.8806 | 1.8497 | 1.8456 | 1.8544 | 1.8406 | 1.8813 | #VALUE! | 1.8455
|  | 90.8893 | 92.1886 | 90.6712 | 90.4684 | 90.9014 | 90.2271 | 92.2195 | #VALUE! | 90.4658
|  | 7.487 | 7.42 | 7.466 | 7.459 | 7.429 | 7.421 | 7.43 | 7.42 | 7.445
|  | 5.487 | 5.415 | 5.427 | 5.425 | 5.45 | 5.405 | 5.421 | 5.548 | 5.41
|  | 2 | 2.005 | 2.039 | 2.034 | 1.979 | 2.016 | 2.009 | 1.872 | 2.035
|  | 1.634 | 1.639 | 1.673 | 1.668 | 1.613 | 1.65 | 1.643 | 1.506 | 1.669
|  | 2.355 | 2.368 | 2.39 | 2.398 | 2.36 | 2.36 | 2.389 | 2.298 | 2.389
|  | 1.1789 | 1.1825 | 1.2071 | 1.2035 | 1.1638 | 1.1905 | 1.1854 | 1.0866 | 1.2042
|  | 1.9976 | 2.0025 | 1.98 | 1.9926 | 2.0279 | 1.9824 | 2.0153 | 2.1149 | 1.9839
|  | 8 | 7 | 7 | 8 | 7 | 7.5 | 8 | 9 | 7.5
|  | 1.8496 | 1.8715 | 1.8505 | 1.845 | 1.8952 | 1.8441 | 1.866 | 1.9403 | 1.8455
|  | 90.6668 | 91.7386 | 90.7092 | 90.4404 | 92.9024 | 90.3967 | 91.4719 | 95.1112 | 90.4658
|  | 7.478 | 7.421 | 7.464 | 7.459 | 7.425 | 7.429 | 7.433 | 7.427 | 7.445
|  | 5.487 | 5.414 | 5.429 | 5.421 | 5.45 | 5.445 | 5.436 | 5.48 | 5.41
|  | 1.991 | 2.007 | 2.035 | 2.038 | 1.975 | 1.984 | 1.997 | 1.947 | 2.035
|  | 1.625 | 1.641 | 1.669 | 1.672 | 1.609 | 1.618 | 1.631 | 1.581 | 1.669
|  | 2.352 | 2.367 | 2.392 | 2.398 | 2.36 | 2.36 | 2.389 | 2.298 | 2.389
|  | 1.1724 | 1.184 | 1.2042 | 1.2063 | 1.1609 | 1.1674 | 1.1768 | 1.1407 | 1.2042
|  | 2.0061 | 1.9992 | 1.9864 | 1.9878 | 2.0329 | 2.0216 | 2.0301 | 2.0146 | 1.9839
|  | 8 | 7 | 8 | 8 | 7 | 7.5 | 8 | 9 | 7.5
|  | 1.8575 | 1.8684 | 1.8393 | 1.8406 | 1.8999 | 1.8806 | 1.8798 | 1.8482 | 1.8455
|  | 91.0528 | 91.5881 | 90.1601 | 90.224 | 93.1334 | 92.1845 | 92.1449 | 90.5993 | 90.4658
|  | 7.468 | 7.421 | 7.458 | 7.459 | 7.424 | 7.429 | 7.433 | 7.427 | 7.442
|  | 5.489 | 5.414 | 5.429 | 5.421 | 5.448 | 5.445 | 5.431 | 5.48 | 5.42
|  | 1.979 | 2.007 | 2.029 | 2.038 | 1.976 | 1.984 | 2.002 | 1.947 | 2.022
|  | 1.613 | 1.641 | 1.663 | 1.672 | 1.61 | 1.618 | 1.636 | 1.581 | 1.656
|  | 2.352 | 2.367 | 2.398 | 2.398 | 2.36 | 2.36 | 2.389 | 2.298 | 2.388
|  | 1.1638 | 1.184 | 1.1999 | 1.2063 | 1.1616 | 1.1674 | 1.1804 | 1.1407 | 1.1948
|  | 2.021 | 1.9992 | 1.9986 | 1.9878 | 2.0317 | 2.0216 | 2.0239 | 2.0146 | 1.9987
|  | 8 | 7 | 8 | 8 | 7 | 7.5 | 8 | 9 | 7.5
|  | 1.8713 | 1.8684 | 1.8505 | 1.8406 | 1.8987 | 1.8806 | 1.874 | 1.8482 | 1.8592
|  | 91.7302 | 91.5881 | 90.7123 | 90.224 | 93.0755 | 92.1845 | 91.8633 | 90.5993 | 91.1378
|  | 7.452 | 7.433 | 7.454 | 7.4589 | 7.448 | 7.429 | 7.433 | 7.427 | 7.442
|  | 5.489 | 5.414 | 5.429 | 5.42 | 5.448 | 5.445 | 5.431 | 5.48 | 5.42
|  | 1.963 | 2.019 | 2.025 | 2.0389 | 2 | 1.984 | 2.002 | 1.947 | 2.022
|  | 1.597 | 1.653 | 1.659 | 1.6729 | 1.634 | 1.618 | 1.636 | 1.581 | 1.656
|  | 2.352 | 2.367 | 2.398 | 2.398 | 2.36 | 2.36 | 2.389 | 2.298 | 2.388
|  | 1.1522 | 1.1926 | 1.197 | 1.207 | 1.1789 | 1.1674 | 1.1804 | 1.1407 | 1.1948
|  | 2.0412 | 1.9847 | 2.0034 | 1.9867 | 2.0018 | 2.0216 | 2.0239 | 2.0146 | 1.9987
|  | 8 | 7 | 8 | 8 | 7 | 7.5 | 8 | 9 | 7.5
|  | 1.89 | 1.8548 | 1.855 | 1.8396 | 1.8709 | 1.8806 | 1.874 | 1.8482 | 1.8592
|  | 92.6492 | 90.9232 | 90.931 | 90.1755 | 91.7084 | 92.1845 | 91.8633 | 90.5993 | 91.1378